[image: image1.png]


Engineering & Planning Department
33 Allegiance Circle  Evanston, WY 82930 

 Telephone (307) 783-6470

www.evanstonwy.org 

                                        

Building Department
Inspection Information

*****24-48 hours’ notice is required for all inspection requests.*****
The following are the minimum inspection requirements which must be completed for new construction, additions, or remodels (as applicable):

Sewer/Water Service Lines:  Line connections must be inspected prior to backfilling trenches

Footings:  Property lines must be identified, and setbacks will be checked.  Footing forms shall be in place.

Foundation Reinforcing Steel (Rebar):  All rebar in place (ufer ground included) and tied.  Concrete cannot be poured until approved. 
Foundation Wall:  After all forms are in place and all vertical and horizontal rebar is tied and in place and prior to pouring concrete.

Underground Plumbing:  After all underground plumbing has been installed and prior to covering and concrete.

Interior Footings:  After all forms and rebar are in place.

Rough Plumbing:  After all waste, vent and water piping is installed.

Rough Mechanical:  After all venting and ductwork is installed.

Gas:  Contact local gas provider

Electrical:  Contact State of Wyoming Electrical Inspector.

Rough Framing:  After the rough plumbing, mechanical inspections are completed and approved and after the roofing, all framing, and fire blocking are complete and the structure is weather proofed.

Sheetrock:  After all of the sheetrock has been installed and fastened at the required spacing.

Final Construction:  After the building is completed and ready for occupancy, including grading , sidewalks, driveways, curb box and sewer clean out to finished grade.

Certificate of Occupancy:  Prior to moving furnishings into the building.

This list does not include any additional inspections specific to the type of project.  Contact the Building Department for specific information.

Inspections can be scheduled through the contractor portal by authorized contractors.

Independent or private builders can schedule inspections by contacting the City of Evanston Building Department at 783-6459 or 783-6454.  

[image: image2.png]EvVanston




\\server\fr$\dworley\Desktop\DW Templates\Blank Templates\Blank Letter Eng. Planning.doc

